|  | COUNTY OF DANE DEPARTMENT OF ADMINISTRATION PURCHASING DIVISION Room 425 City-County Building 210 Martin Luther King Jr. Blvd. Madison, WI 53703-3345 608/266-4131 FAX 608/266-4425 TDD 608/266-4941 |  |
| --- | --- | --- |
| CARLOS PABELLON Director of Administration |  | CHARLES HICKLIN Controller |

DATE:	April 21, 2016

TO:		All Proposers

# FROM:	Carolyn Ninedorf, Purchasing Agent

# SUBJECT:	Addendum #1 Bid #116035: Restroom Fixture Replacements

The scope of this project has changed necessitating a change in the quantities. A revised cost proposal is attached. All vendors are required to fill out the revised cost proposal in order to have their bid considered.

The due date for bids is changed to Thursday, April 28, 2016 at 2:00 p.m.

Sincerely,

Carolyn A. Ninedorf, CPPB

Purchasing Agent

Dane County Purchasing

Part - 2 Bid Forms

Submit With Bid

| **REVISED** PRICE PROPOSAL |
| --- |
| NAME OF COMPANY: |  |

For the price(s) listed below, our firm hereby offers to provide the following item(s) in accordance with the specifications in Part # 3 of this bid. Pricing must include delivery, installation, removal and disposal of old units.

| Quantity | Unit of Measure | Description | Unit price installed | Total installed price |
| --- | --- | --- | --- | --- |
| 107 | Ea. | Toilet Replacement Sloan flush valve 1.6 gf Model # 111-1.6 CODE #3010000 Kohler wall mounted fixture Color: White Part #Kingston K-4325-O Elongated open front seat to be included. |  |  |
| 40 | Ea. | Urinal Upgrade Sloan flush valve Model #186-.5 GPF |  |  |
| 81 | Ea. | Sink Upgrade Single line Chicago Faucet Model # 3500-E2805ABCP .5gpm lower flow single push button lavatory faucet |  |  |
| 6 | Ea. | Administration Building Toilet Replacement Kohler white Cimarron floor mount two piece elongated fixture 1.28 gf Part #K-3609-T-O |  |  |
|  |  |  | TOTAL COST | $ |

Walk Through:

Bidders may arrange for a site visit of the areas where work will be performed by contacting Facility Manager Don Kraft at 608-267-3983 between the hours of 8:00 AM and 4:00 PM M-F. All walk throughs must be completed by 4:00 p.m. on Thursday, April 14, 2016.

Sales Tax

Bids should not include Federal Excise and Wisconsin Sales Taxes, as Dane County is exempt from payment of such taxes.  Sec. State Statute No. 77.54(9a). Wis. Stats. The Dane County’s CES number is ES 41279.

Payment terms: Net 30

Quote/Bid price delivered and installed to:

Alliant Energy Center

1919 Alliant Energy Center Way

Madison WI 53713